## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T04:11:30.579595+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 2 | 2 | 40 | 0.04 | 0.04 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.579684+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 2.15 | 2.15 | 42 | 0.042 | 0.042 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.579750+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.3 | 2.3 | 44 | 0.044 | 0.044 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.579813+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.45 | 2.45 | 46 | 0.046 | 0.046 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.579875+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.6 | 2.6 | 48 | 0.048 | 0.048 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.579940+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.75 | 2.75 | 50 | 0.05 | 0.05 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.579996+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.9 | 2.9 | 52 | 0.052 | 0.052 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.580050+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 3.05 | 3.05 | 54 | 0.054 | 0.054 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012756 | 0.065428
2026-04-30T04:11:30.630574+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.630667+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.630749+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.630814+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.630874+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.630936+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.630992+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.631048+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012756 | 0.065428
2026-04-30T04:11:30.658911+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.658993+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.659073+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.659134+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.659193+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.659252+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.659306+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.659361+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012269 | 0.066669
2026-04-30T04:11:30.710817+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.711044+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.711188+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.711320+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.711460+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.711744+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.711897+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.712040+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012269 | 0.066669
2026-04-30T04:11:30.742492+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742580+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742646+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742711+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742772+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742835+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742893+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.742951+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012411 | 0.066362
2026-04-30T04:11:30.793805+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.793970+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.794111+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.794287+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.794439+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.794647+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.794986+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.795157+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012411 | 0.066362
2026-04-30T04:11:30.826158+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826244+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826326+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826386+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826469+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826534+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826587+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.826641+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011631 | 0.065113
2026-04-30T04:11:30.877874+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878021+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878100+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878176+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878303+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878378+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878526+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:30.878622+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011631 | 0.065113
2026-04-30T04:11:31.653536+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 2 | 2 | 100 | 0.1 | 0.1 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.653706+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 2.15 | 2.15 | 102 | 0.102 | 0.102 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.653807+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.3 | 2.3 | 104 | 0.104 | 0.104 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.653907+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.45 | 2.45 | 106 | 0.106 | 0.106 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.654186+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.6 | 2.6 | 108 | 0.108 | 0.108 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.654357+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.75 | 2.75 | 110 | 0.11 | 0.11 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.654455+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.9 | 2.9 | 112 | 0.112 | 0.112 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.654557+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 3.05 | 3.05 | 114 | 0.114 | 0.114 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0093554 | 0.065534
2026-04-30T04:11:31.706649+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.706736+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.706798+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.706863+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.706943+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.707016+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.707086+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.707151+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0093554 | 0.065534
2026-04-30T04:11:31.742828+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.742919+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.742982+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.743039+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.743092+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.743157+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.743208+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.743258+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01226 | 0.065831
2026-04-30T04:11:31.794386+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.794520+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.794594+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.794667+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.794731+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.794796+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.794873+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.795127+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01226 | 0.065831
2026-04-30T04:11:31.832094+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832164+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832220+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832273+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832340+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832405+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832455+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.832503+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014264 | 0.066406
2026-04-30T04:11:31.883042+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883127+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883191+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883251+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883308+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883365+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883418+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.883471+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014264 | 0.066406
2026-04-30T04:11:31.925782+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.925861+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.925929+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.925987+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.926040+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.926095+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.926147+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.926201+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011776 | 0.065018
2026-04-30T04:11:31.977305+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977467+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977548+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977625+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977691+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977763+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977823+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018
2026-04-30T04:11:31.977886+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011776 | 0.065018