## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T04:30:35.282214+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 2 | 2 | 40 | 0.04 | 0.04 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282306+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 2.15 | 2.15 | 42 | 0.042 | 0.042 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282374+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.3 | 2.3 | 44 | 0.044 | 0.044 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282441+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.45 | 2.45 | 46 | 0.046 | 0.046 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282502+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.6 | 2.6 | 48 | 0.048 | 0.048 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282563+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.75 | 2.75 | 50 | 0.05 | 0.05 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282621+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.9 | 2.9 | 52 | 0.052 | 0.052 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.282741+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 3.05 | 3.05 | 54 | 0.054 | 0.054 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.014419 | 0.067713
2026-04-30T04:30:35.333791+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.333886+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.333956+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.334025+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.334089+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.334153+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.334213+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.334271+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014419 | 0.067713
2026-04-30T04:30:35.365031+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365120+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365185+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365256+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365323+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365384+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365442+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.365498+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01454 | 0.067816
2026-04-30T04:30:35.416798+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.416891+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.416966+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.417033+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.417097+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.417161+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.417221+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.417280+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01454 | 0.067816
2026-04-30T04:30:35.451468+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.451550+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.451616+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.451801+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.451945+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.452061+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.452174+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.452305+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01398 | 0.069659
2026-04-30T04:30:35.504283+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.504564+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.504994+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.505175+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.505328+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.505479+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.505767+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.505975+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01398 | 0.069659
2026-04-30T04:30:35.544384+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.544478+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.544547+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.544729+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.544905+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.545033+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.545142+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.545242+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016898 | 0.071342
2026-04-30T04:30:35.597031+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597119+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597183+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597246+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597304+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597364+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597418+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:35.597471+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016898 | 0.071342
2026-04-30T04:30:36.525453+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 2 | 2 | 100 | 0.1 | 0.1 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.525639+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 2.15 | 2.15 | 102 | 0.102 | 0.102 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.525808+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.3 | 2.3 | 104 | 0.104 | 0.104 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.525887+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.45 | 2.45 | 106 | 0.106 | 0.106 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.525955+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.6 | 2.6 | 108 | 0.108 | 0.108 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.526024+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.75 | 2.75 | 110 | 0.11 | 0.11 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.526092+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.9 | 2.9 | 112 | 0.112 | 0.112 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.526158+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 3.05 | 3.05 | 114 | 0.114 | 0.114 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.023213 | 0.078115
2026-04-30T04:30:36.576939+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577043+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577120+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577193+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577262+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577331+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577396+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.577462+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.023213 | 0.078115
2026-04-30T04:30:36.627744+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.627895+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.628229+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.628388+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.628539+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.628635+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.628775+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.628882+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.017744 | 0.071996
2026-04-30T04:30:36.680072+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680302+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680410+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680512+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680616+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680737+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680809+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.680876+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.017744 | 0.071996
2026-04-30T04:30:36.726198+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726284+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726352+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726415+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726474+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726536+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726593+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.726648+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013724 | 0.067685
2026-04-30T04:30:36.777863+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.777969+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.778043+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.778174+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.778299+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.778438+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.778561+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.778699+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013724 | 0.067685
2026-04-30T04:30:36.825604+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.825707+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.825782+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.825844+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.825903+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.825963+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.826019+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.826095+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015363 | 0.068252
2026-04-30T04:30:36.876871+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.876971+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.877038+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.877104+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.877165+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.877228+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.877286+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252
2026-04-30T04:30:36.877343+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015363 | 0.068252