## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T06:59:31.093773+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 2 | 2 | 40 | 0.04 | 0.04 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.094092+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 2.15 | 2.15 | 42 | 0.042 | 0.042 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.094280+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.3 | 2.3 | 44 | 0.044 | 0.044 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.094430+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.45 | 2.45 | 46 | 0.046 | 0.046 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.094556+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.6 | 2.6 | 48 | 0.048 | 0.048 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.094698+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.75 | 2.75 | 50 | 0.05 | 0.05 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.094879+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.9 | 2.9 | 52 | 0.052 | 0.052 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.095028+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 3.05 | 3.05 | 54 | 0.054 | 0.054 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147085+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147250+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147385+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147511+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147641+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147762+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147886+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.147948+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0084813 | 0.063771
2026-04-30T06:59:31.173932+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174021+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174089+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174171+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174231+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174325+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174389+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.174444+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.015764 | 0.068642
2026-04-30T06:59:31.225030+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225184+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225259+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225332+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225397+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225467+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225529+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.225593+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.015764 | 0.068642
2026-04-30T06:59:31.256198+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256312+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256389+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256464+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256531+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256606+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256672+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.256734+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012381 | 0.065957
2026-04-30T06:59:31.307952+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308046+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308120+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308191+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308256+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308323+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308384+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.308445+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012381 | 0.065957
2026-04-30T06:59:31.342754+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.342857+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.342930+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.343000+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.343064+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.343131+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.343193+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.343253+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.011616 | 0.065919
2026-04-30T06:59:31.394291+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.394473+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.394749+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.394978+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.395207+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.395476+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.395695+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:31.395932+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011616 | 0.065919
2026-04-30T06:59:32.120937+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 2 | 2 | 100 | 0.1 | 0.1 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121020+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 2.15 | 2.15 | 102 | 0.102 | 0.102 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121078+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.3 | 2.3 | 104 | 0.104 | 0.104 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121149+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.45 | 2.45 | 106 | 0.106 | 0.106 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121198+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.6 | 2.6 | 108 | 0.108 | 0.108 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121250+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.75 | 2.75 | 110 | 0.11 | 0.11 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121297+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.9 | 2.9 | 112 | 0.112 | 0.112 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.121344+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 3.05 | 3.05 | 114 | 0.114 | 0.114 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011524 | 0.064147
2026-04-30T06:59:32.172135+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172230+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172296+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172359+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172418+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172479+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172535+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.172596+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011524 | 0.064147
2026-04-30T06:59:32.207008+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207091+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207159+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207223+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207284+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207348+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207407+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.207465+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012605 | 0.065881
2026-04-30T06:59:32.258977+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259070+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259141+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259211+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259275+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259342+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259401+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.259461+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012605 | 0.065881
2026-04-30T06:59:32.299754+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300197+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300362+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300470+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300575+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300672+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300772+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.300893+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010226 | 0.065643
2026-04-30T06:59:32.352991+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353086+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353158+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353227+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353292+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353361+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353425+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.353492+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010226 | 0.065643
2026-04-30T06:59:32.399558+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.399793+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.400230+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.400466+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.400683+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.400960+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.401152+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.401309+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.010388 | 0.067355
2026-04-30T06:59:32.452720+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.452835+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.452911+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.452994+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.453079+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.453154+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.453219+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355
2026-04-30T06:59:32.453285+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.010388 | 0.067355