## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T06:53:18.596513+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.596669+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.596926+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.597111+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.597275+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.597428+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.597577+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.597740+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0136 | 0.068995
2026-04-30T06:53:18.649120+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649267+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649342+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649413+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649481+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649545+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649605+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.649664+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0136 | 0.068995
2026-04-30T06:53:18.674361+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674479+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674560+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674633+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674765+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674842+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674905+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.674967+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.015627 | 0.06852
2026-04-30T06:53:18.725864+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.725953+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.726020+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.726084+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.726160+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.726220+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.726275+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:18.726332+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.015627 | 0.06852
2026-04-30T06:53:22.093784+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.093980+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.094205+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.094354+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.094494+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.094659+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.094844+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.094983+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01534 | 0.071555
2026-04-30T06:53:22.147476+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.147623+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.147737+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.147812+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.147883+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.147975+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.148305+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.148458+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01534 | 0.071555
2026-04-30T06:53:22.173130+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173211+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173276+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173339+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173397+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173461+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173518+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.173575+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0094046 | 0.062619
2026-04-30T06:53:22.224273+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.224440+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.224557+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.224669+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.224822+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.224968+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.225117+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619
2026-04-30T06:53:22.225261+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0094046 | 0.062619