## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T07:52:54.327694+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 2 | 2 | 40 | 0.04 | 0.04 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.327796+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 2.15 | 2.15 | 42 | 0.042 | 0.042 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.327870+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.3 | 2.3 | 44 | 0.044 | 0.044 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.327939+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.45 | 2.45 | 46 | 0.046 | 0.046 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.328006+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.6 | 2.6 | 48 | 0.048 | 0.048 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.328072+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.75 | 2.75 | 50 | 0.05 | 0.05 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.328134+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.9 | 2.9 | 52 | 0.052 | 0.052 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.328196+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 3.05 | 3.05 | 54 | 0.054 | 0.054 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011462 | 0.064077
2026-04-30T07:52:54.378954+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379046+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379116+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379183+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379246+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379310+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379371+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.379432+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.011462 | 0.064077
2026-04-30T07:52:54.400139+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.400297+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.400475+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.400670+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.400835+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.400999+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.401163+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.401321+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0071067 | 0.062754
2026-04-30T07:52:54.452981+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453139+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453226+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453308+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453387+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453497+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453577+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.453732+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0071067 | 0.062754
2026-04-30T07:52:54.479566+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.479715+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.479789+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.479861+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.479929+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.480001+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.480065+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.480127+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.012926 | 0.067018
2026-04-30T07:52:54.530719+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.530879+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.530991+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.531093+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.531239+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.531386+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.531529+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.531846+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012926 | 0.067018
2026-04-30T07:52:54.565047+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.565363+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.565911+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.566336+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.566569+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.566836+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.567008+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.567197+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620120+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620245+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620347+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620448+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620552+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620659+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620726+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:54.620790+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0065967 | 0.063874
2026-04-30T07:52:55.395136+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 2 | 2 | 100 | 0.1 | 0.1 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395233+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 2.15 | 2.15 | 102 | 0.102 | 0.102 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395297+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.3 | 2.3 | 104 | 0.104 | 0.104 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395359+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.45 | 2.45 | 106 | 0.106 | 0.106 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395421+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.6 | 2.6 | 108 | 0.108 | 0.108 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395494+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.75 | 2.75 | 110 | 0.11 | 0.11 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395557+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.9 | 2.9 | 112 | 0.112 | 0.112 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.395613+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 3.05 | 3.05 | 114 | 0.114 | 0.114 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.012837 | 0.065845
2026-04-30T07:52:55.446507+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446601+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446674+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446738+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446797+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446859+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446914+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.446968+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.012837 | 0.065845
2026-04-30T07:52:55.490313+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490437+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490524+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490598+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490667+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490740+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490803+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.490865+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016823 | 0.071828
2026-04-30T07:52:55.542343+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542432+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542501+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542567+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542626+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542688+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542745+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.542802+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016823 | 0.071828
2026-04-30T07:52:55.580101+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580181+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580269+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580333+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580392+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580452+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580510+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.580566+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0072347 | 0.06239
2026-04-30T07:52:55.631911+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.632166+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.632454+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.632610+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.632754+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.632905+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.633055+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.633197+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0072347 | 0.06239
2026-04-30T07:52:55.676178+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676272+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676376+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676449+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676514+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676585+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676658+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.676729+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016689 | 0.070311
2026-04-30T07:52:55.727846+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728145+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728354+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728485+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728570+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728654+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728730+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311
2026-04-30T07:52:55.728800+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016689 | 0.070311