## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T06:14:13.487237+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 2 | 2 | 40 | 0.04 | 0.04 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487334+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 2.15 | 2.15 | 42 | 0.042 | 0.042 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487412+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.3 | 2.3 | 44 | 0.044 | 0.044 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487473+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.45 | 2.45 | 46 | 0.046 | 0.046 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487530+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.6 | 2.6 | 48 | 0.048 | 0.048 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487588+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.75 | 2.75 | 50 | 0.05 | 0.05 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487643+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.9 | 2.9 | 52 | 0.052 | 0.052 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.487696+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 3.05 | 3.05 | 54 | 0.054 | 0.054 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.007041 | 0.060375
2026-04-30T06:14:13.538932+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539095+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539224+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539320+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539404+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539480+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539580+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.539654+00:00 | 8 | co2 | co2_groupa_400ppm_1100hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.007041 | 0.060375
2026-04-30T06:14:13.567373+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567513+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567595+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567669+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567737+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567838+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567901+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.567965+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.014814 | 0.069193
2026-04-30T06:14:13.619693+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.619804+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.619881+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.619957+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.620026+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.620095+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.620161+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.620232+00:00 | 6 | co2 | co2_groupa_400ppm_1000hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.014814 | 0.069193
2026-04-30T06:14:13.651156+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651255+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651330+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651432+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651500+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651569+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651633+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.651698+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.01171 | 0.06465
2026-04-30T06:14:13.702544+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.702649+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.702724+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.702801+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.702869+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.702938+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.703000+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.703063+00:00 | 7 | co2 | co2_groupa_400ppm_800hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.01171 | 0.06465
2026-04-30T06:14:13.728936+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729186+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729338+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729421+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729529+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729600+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729666+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.729731+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.0094605 | 0.064
2026-04-30T06:14:13.781433+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga01 |  | co2 | 40 | 1.75 | 1.75 | 40 | 0.04 | 0.04 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.781562+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga02 |  | co2 | 42 | 1.9 | 1.9 | 42 | 0.042 | 0.042 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.781640+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga03 |  | co2 | 44 | 2.05 | 2.05 | 44 | 0.044 | 0.044 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.781715+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga04 |  | co2 | 46 | 2.2 | 2.2 | 46 | 0.046 | 0.046 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.781792+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga05 |  | co2 | 48 | 2.35 | 2.35 | 48 | 0.048 | 0.048 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.781865+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga06 |  | co2 | 50 | 2.5 | 2.5 | 50 | 0.05 | 0.05 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.781934+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga07 |  | co2 | 52 | 2.65 | 2.65 | 52 | 0.052 | 0.052 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:13.782034+00:00 | 10 | co2 | co2_groupa_400ppm_600hpa | 20 | 400 | A | 400 | ga08 |  | co2 | 54 | 2.8 | 2.8 | 54 | 0.054 | 0.054 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0094605 | 0.064
2026-04-30T06:14:14.490527+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 2 | 2 | 100 | 0.1 | 0.1 | 0.02 | 0.02 | 1001 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.490705+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 2.15 | 2.15 | 102 | 0.102 | 0.102 | 0.0215 | 0.0215 | 1002 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.490836+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.3 | 2.3 | 104 | 0.104 | 0.104 | 0.023 | 0.023 | 1003 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.490953+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.45 | 2.45 | 106 | 0.106 | 0.106 | 0.0245 | 0.0245 | 1004 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.491068+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.6 | 2.6 | 108 | 0.108 | 0.108 | 0.026 | 0.026 | 1005 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.491188+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.75 | 2.75 | 110 | 0.11 | 0.11 | 0.0275 | 0.0275 | 1006 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.491300+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.9 | 2.9 | 112 | 0.112 | 0.112 | 0.029 | 0.029 | 1007 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.491420+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 3.05 | 3.05 | 114 | 0.114 | 0.114 | 0.0305 | 0.0305 | 1008 | 1100 | 1100 | healthy |  |  | 8 | 110 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063822 | 0.060966
2026-04-30T06:14:14.542859+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543124+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543207+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543305+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543422+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543550+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543757+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.543910+00:00 | 8 | co2 | co2_groupb_1000ppm_1100hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1100 | 1100 | healthy |  |  | 12 | 110 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.0063822 | 0.060966
2026-04-30T06:14:14.580179+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580266+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580345+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580412+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580483+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580554+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580612+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.580669+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.013477 | 0.067009
2026-04-30T06:14:14.631790+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.631918+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.632026+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.632099+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.632173+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.632260+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.632334+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.632396+00:00 | 6 | co2 | co2_groupb_1000ppm_1000hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.013477 | 0.067009
2026-04-30T06:14:14.680389+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680545+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680649+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680725+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680790+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680854+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680913+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.680971+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.021542 | 0.076085
2026-04-30T06:14:14.732713+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.732900+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.732974+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.733054+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.733130+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.733235+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.733312+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.733370+00:00 | 7 | co2 | co2_groupb_1000ppm_800hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.021542 | 0.076085
2026-04-30T06:14:14.773427+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.773538+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.773619+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.773724+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.773800+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.773901+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.774024+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.774122+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 1 | 0.016618 | 0.070639
2026-04-30T06:14:14.826069+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga01 |  | co2 | 100 | 1.75 | 1.75 | 100 | 0.1 | 0.1 | 0.0175 | 0.0175 | 1001 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826223+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga02 |  | co2 | 102 | 1.9 | 1.9 | 102 | 0.102 | 0.102 | 0.019 | 0.019 | 1002 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826288+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga03 |  | co2 | 104 | 2.05 | 2.05 | 104 | 0.104 | 0.104 | 0.0205 | 0.0205 | 1003 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826345+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga04 |  | co2 | 106 | 2.2 | 2.2 | 106 | 0.106 | 0.106 | 0.022 | 0.022 | 1004 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826401+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga05 |  | co2 | 108 | 2.35 | 2.35 | 108 | 0.108 | 0.108 | 0.0235 | 0.0235 | 1005 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826470+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga06 |  | co2 | 110 | 2.5 | 2.5 | 110 | 0.11 | 0.11 | 0.025 | 0.025 | 1006 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826575+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga07 |  | co2 | 112 | 2.65 | 2.65 | 112 | 0.112 | 0.112 | 0.0265 | 0.0265 | 1007 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639
2026-04-30T06:14:14.826628+00:00 | 10 | co2 | co2_groupb_1000ppm_600hpa | 20 | 1000 | B | 1000 | ga08 |  | co2 | 114 | 2.8 | 2.8 | 114 | 0.114 | 0.114 | 0.028 | 0.028 | 1008 | 600 | 600 | healthy |  |  | 12 | 60 | 25 | 25 | TRUE | TRUE | ok | 2 | 0.016618 | 0.070639