## 温度校准观测
snapshot_time | timestamp | analyzer_id | analyzer_device_id | temp_setpoint_c | temperature_setpoint_c | chamber_temperature_box_c | chamber_temperature_env_c | ref_temp_c | ref_temp_source | cell_temp_raw_c | shell_temp_raw_c | analyzer_cell_temp_raw_c | analyzer_shell_temp_raw_c | route_type | is_temp_calibration_snapshot | valid_for_cell_fit | valid_for_shell_fit | snapshot_window_s | env_temp_span_c | box_temp_span_c | cell_temp_span_c | shell_temp_span_c
2026-04-08T20:03:45.425 | 2026-04-08T20:03:45.425 | GA01 | 001 | -20 | -20 | -20 | -20.1589 | -20.1589 | env | 60 | 60 | 60 | 60 | co2 | TRUE | TRUE | TRUE | 60 | 0.03 | 0 | 0 | 0
2026-04-08T20:03:45.425 | 2026-04-08T20:03:45.425 | GA02 | 027 | -20 | -20 | -20 | -20.1589 | -20.1589 | env | -20.5778 | -21.0044 | -20.5778 | -21.0044 | co2 | TRUE | TRUE | TRUE | 60 | 0.03 | 0 | 0.03 | 0.1
2026-04-08T20:03:45.425 | 2026-04-08T20:03:45.425 | GA03 | 003 | -20 | -20 | -20 | -20.1589 | -20.1589 | env |  |  |  |  | co2 | TRUE | FALSE | FALSE | 60 | 0.03 | 0
2026-04-08T20:03:45.425 | 2026-04-08T20:03:45.425 | GA04 | 001 | -20 | -20 | -20 | -20.1589 | -20.1589 | env | -16.2044 | -16.3067 | -16.2044 | -16.3067 | co2 | TRUE | TRUE | TRUE | 60 | 0.03 | 0 | 0.04 | 0.05

## 温度补偿系数
analyzer_id | fit_type | senco_channel | ref_temp_source | n_points | fit_ok | availability | polynomial_degree_used | rmse | max_abs_error | A | B | C | D | command_string
GA01 | cell | SENCO7 | env | 1 | FALSE | available | 0 |  |  | 0 | 1 | 0 | 0 | SENCO7,YGAS,FFF,0.00000e00,1.00000e00,0.00000e00,0.00000e00
GA01 | shell | SENCO8 | env | 1 | FALSE | available | 0 |  |  | 0 | 1 | 0 | 0 | SENCO8,YGAS,FFF,0.00000e00,1.00000e00,0.00000e00,0.00000e00
GA02 | cell | SENCO7 | env | 1 | FALSE | available | 0 |  |  | 0 | 1 | 0 | 0 | SENCO7,YGAS,FFF,0.00000e00,1.00000e00,0.00000e00,0.00000e00
GA02 | shell | SENCO8 | env | 1 | FALSE | available | 0 |  |  | 0 | 1 | 0 | 0 | SENCO8,YGAS,FFF,0.00000e00,1.00000e00,0.00000e00,0.00000e00
GA03 | cell | SENCO7 | none | 0 | FALSE | unavailable | 0 |  |  | 0 | 1 | 0 | 0
GA03 | shell | SENCO8 | none | 0 | FALSE | unavailable | 0 |  |  | 0 | 1 | 0 | 0
GA04 | cell | SENCO7 | env | 1 | FALSE | available | 0 |  |  | 0 | 1 | 0 | 0 | SENCO7,YGAS,FFF,0.00000e00,1.00000e00,0.00000e00,0.00000e00
GA04 | shell | SENCO8 | env | 1 | FALSE | available | 0 |  |  | 0 | 1 | 0 | 0 | SENCO8,YGAS,FFF,0.00000e00,1.00000e00,0.00000e00,0.00000e00