## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T04:29:54.732644+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.732733+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.732794+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.732852+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.732908+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.732964+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.733016+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.733068+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01427 | 0.066463
2026-04-30T04:29:54.783542+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783634+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783699+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783762+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783819+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783877+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783932+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.783986+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01427 | 0.066463
2026-04-30T04:29:54.809911+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.809987+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.810046+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.810101+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.810176+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.810229+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.810278+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.810327+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.010555 | 0.064094
2026-04-30T04:29:54.861796+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.861906+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.861980+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.862053+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.862122+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.862196+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.862256+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:54.862317+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.010555 | 0.064094
2026-04-30T04:29:58.358805+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.358905+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.358972+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.359033+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.359092+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.359152+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.359209+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.359263+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013826 | 0.066595
2026-04-30T04:29:58.409927+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410016+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410082+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410147+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410209+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410275+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410333+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.410393+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013826 | 0.066595
2026-04-30T04:29:58.446110+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446313+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446453+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446541+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446615+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446704+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446846+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.446935+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.013149 | 0.067376
2026-04-30T04:29:58.498486+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498578+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498640+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498702+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498758+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498814+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498865+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376
2026-04-30T04:29:58.498916+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.013149 | 0.067376