## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T07:08:49.184443+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184587+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184659+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184729+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184788+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184852+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184908+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.184979+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096442 | 0.063427
2026-04-30T07:08:49.236626+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.236719+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.236790+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.236858+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.236921+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.236985+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.237044+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.237101+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096442 | 0.063427
2026-04-30T07:08:49.265441+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265549+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265620+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265687+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265751+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265824+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265886+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.265947+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.01202 | 0.064551
2026-04-30T07:08:49.316647+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.316744+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.316817+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.316888+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.316954+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.317020+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.317083+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:49.317145+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.01202 | 0.064551
2026-04-30T07:08:52.642684+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.642758+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.642827+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.642886+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.642938+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.642993+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.643044+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.643094+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694105+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694201+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694268+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694337+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694564+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694740+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.694921+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.695003+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0087899 | 0.062268
2026-04-30T07:08:52.720562+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.720692+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.720808+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.720910+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.720981+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.721054+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.721117+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.721180+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.011722 | 0.064483
2026-04-30T07:08:52.771932+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772020+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772089+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772154+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772214+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772276+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772332+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483
2026-04-30T07:08:52.772387+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.011722 | 0.064483