## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T08:32:01.888887+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.889872+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.890176+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.890427+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.890857+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.891112+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.891311+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.891628+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.035311 | 0.099515
2026-04-30T08:32:01.944262+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.944508+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.944800+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.945034+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.945120+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.945240+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.945345+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:01.945583+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.035311 | 0.099515
2026-04-30T08:32:02.031707+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.032061+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.032453+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.033382+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.034132+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.034287+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.034412+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.034852+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.046356 | 0.10987
2026-04-30T08:32:02.089919+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090125+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090235+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090340+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090467+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090738+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090869+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:02.090990+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.046356 | 0.10987
2026-04-30T08:32:08.447081+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.447664+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.448068+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.451724+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.451983+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.453588+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.454244+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.454465+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.051733 | 0.1175
2026-04-30T08:32:08.507491+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.507683+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.507863+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.507952+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.508060+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.508157+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.508227+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.508299+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.051733 | 0.1175
2026-04-30T08:32:08.623609+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.623983+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.624143+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.624305+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.624457+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.624642+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.624859+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.625087+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.054493 | 0.12257
2026-04-30T08:32:08.678082+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.679255+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.681160+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.683016+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.684673+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.687553+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.688103+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257
2026-04-30T08:32:08.688400+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.054493 | 0.12257