## samples
timestamp | point_index | point_phase | point_tag | temperature_c | co2_ppm | co2_group | cylinder_nominal_ppm | analyzer_id | humidity_pct | route | sample_co2_ppm | sample_h2o_mmol | h2o_signal | co2_signal | co2_ratio_f | co2_ratio_raw | h2o_ratio_f | h2o_ratio_raw | ref_signal | pressure_hpa | pressure_gauge_hpa | pressure_reference_status | thermometer_temp_c | thermometer_reference_status | dew_point_c | analyzer_pressure_kpa | analyzer_chamber_temp_c | case_temp_c | frame_has_data | frame_usable | frame_status | sample_index | stability_time_s | total_time_s
2026-04-30T15:31:04.566086+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566175+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566231+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566284+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566332+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566381+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566426+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.566471+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617433+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617506+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617559+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617610+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617658+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617706+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617751+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.617798+00:00 | 1 | h2o | h2o_20c_30rh_1000hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 1000 | 1000 | healthy |  |  | 6 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0091461 | 0.061544
2026-04-30T15:31:04.634729+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.634799+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.634855+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.634909+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.634960+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.635013+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.635061+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.635110+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0063252 | 0.058808
2026-04-30T15:31:04.685921+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga01 | 30 | h2o | 40 | 1.5 | 1.5 | 40 | 0.04 | 0.04 | 0.015 | 0.015 | 1001 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686013+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga02 | 30 | h2o | 42 | 1.65 | 1.65 | 42 | 0.042 | 0.042 | 0.0165 | 0.0165 | 1002 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686082+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga03 | 30 | h2o | 44 | 1.8 | 1.8 | 44 | 0.044 | 0.044 | 0.018 | 0.018 | 1003 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686151+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga04 | 30 | h2o | 46 | 1.95 | 1.95 | 46 | 0.046 | 0.046 | 0.0195 | 0.0195 | 1004 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686213+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga05 | 30 | h2o | 48 | 2.1 | 2.1 | 48 | 0.048 | 0.048 | 0.021 | 0.021 | 1005 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686278+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga06 | 30 | h2o | 50 | 2.25 | 2.25 | 50 | 0.05 | 0.05 | 0.0225 | 0.0225 | 1006 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686356+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga07 | 30 | h2o | 52 | 2.4 | 2.4 | 52 | 0.052 | 0.052 | 0.024 | 0.024 | 1007 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:04.686416+00:00 | 2 | h2o | h2o_20c_30rh_800hpa | 20 |  |  |  | ga08 | 30 | h2o | 54 | 2.55 | 2.55 | 54 | 0.054 | 0.054 | 0.0255 | 0.0255 | 1008 | 800 | 800 | healthy |  |  | 6 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0063252 | 0.058808
2026-04-30T15:31:07.882315+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882384+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882436+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882487+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882533+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882583+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882629+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.882673+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0096806 | 0.062278
2026-04-30T15:31:07.933770+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.933924+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.933991+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.934047+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.934095+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.934153+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.934200+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.934246+00:00 | 1 | h2o | h2o_20c_60rh_1000hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 1000 | 1000 | healthy |  |  | 12 | 100 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0096806 | 0.062278
2026-04-30T15:31:07.953128+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953193+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953246+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953297+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953345+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953396+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953443+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:07.953493+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 1 | 0.0059735 | 0.058535
2026-04-30T15:31:08.004693+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga01 | 60 | h2o | 40 | 3 | 3 | 40 | 0.04 | 0.04 | 0.03 | 0.03 | 1001 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.004764+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga02 | 60 | h2o | 42 | 3.15 | 3.15 | 42 | 0.042 | 0.042 | 0.0315 | 0.0315 | 1002 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.004816+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga03 | 60 | h2o | 44 | 3.3 | 3.3 | 44 | 0.044 | 0.044 | 0.033 | 0.033 | 1003 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.004868+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga04 | 60 | h2o | 46 | 3.45 | 3.45 | 46 | 0.046 | 0.046 | 0.0345 | 0.0345 | 1004 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.004916+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga05 | 60 | h2o | 48 | 3.6 | 3.6 | 48 | 0.048 | 0.048 | 0.036 | 0.036 | 1005 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.004967+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga06 | 60 | h2o | 50 | 3.75 | 3.75 | 50 | 0.05 | 0.05 | 0.0375 | 0.0375 | 1006 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.005012+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga07 | 60 | h2o | 52 | 3.9 | 3.9 | 52 | 0.052 | 0.052 | 0.039 | 0.039 | 1007 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535
2026-04-30T15:31:08.005057+00:00 | 2 | h2o | h2o_20c_60rh_800hpa | 20 |  |  |  | ga08 | 60 | h2o | 54 | 4.05 | 4.05 | 54 | 0.054 | 0.054 | 0.0405 | 0.0405 | 1008 | 800 | 800 | healthy |  |  | 12 | 80 | 20 | 20 | TRUE | TRUE | ok | 2 | 0.0059735 | 0.058535