## 温度校准观测
snapshot_time | timestamp | analyzer_id | analyzer_device_id | temp_setpoint_c | temperature_setpoint_c | chamber_temperature_box_c | chamber_temperature_env_c | ref_temp_c | ref_temp_source | cell_temp_raw_c | shell_temp_raw_c | analyzer_cell_temp_raw_c | analyzer_shell_temp_raw_c | route_type | is_temp_calibration_snapshot | valid_for_cell_fit | valid_for_shell_fit | cell_fit_gate_reason | shell_fit_gate_reason | snapshot_window_s | env_temp_span_c | box_temp_span_c | cell_temp_span_c | shell_temp_span_c
2026-04-20T14:16:14.980 | 2026-04-20T14:16:14.980 | GA01 | 012 | 20 | 20 | 26.3068 |  |  | none | 27.9409 | 27.9359 | 27.9409 | 27.9359 | co2 | TRUE | FALSE | FALSE | missing_ref | missing_ref | 60 |  | 0.6 | 0.13 | 0.16

## 温度补偿系数
analyzer_id | fit_type | senco_channel | ref_temp_source | n_points | fit_ok | availability | polynomial_degree_used | rmse | max_abs_error | A | B | C | D | command_string
GA01 | cell | SENCO7 | none | 0 | FALSE | unavailable | 0 |  |  | 0 | 1 | 0 | 0
GA01 | shell | SENCO8 | none | 0 | FALSE | unavailable | 0 |  |  | 0 | 1 | 0 | 0